## Slide 1: Examples.MODBUS
Application
This example tests the use of a generated MODBUS/TCP connector within the oktoflow platform.
The platform generates and uses an instantiated MODBUS/TCP Connector to connect a MODBUS/TCP test server and to read data. Monitored execution characteristics are written to the file “opcTest.txt”. An alternative, manually written, OPC UA connector is given for comparison.
Sender service and File output are generic and not part of the application and hence showed as greyed out.
Test Data
Sender service
Java, async
Generated MODBUS/TCP Connector
Java, async
File output “modbusTest.txt”
Java, async
Read data
GeneratedConnector
Test MODBUS/TCP
server
Write data

## Slide 2
The MODBUS data model used for testing: